## Experiment: Lenses

### Introduction

Converging Lens

Incident Rays

Refracted Rays

Focal Point

Diverging Lens

Incident Rays

Refracted Rays

Focal Point

Converging lenses transform a parallel beam into a converging beam. The converging point is known as focal point. Converging lenses can produce virtual or real images, depending on the distance between the object and the lens.

The distance between the object and the lens (p), the focal distance (f) and the distance between the image and the lens (i) are related by the “thin lens equation” as follows:

Thin Lens Equation:

For a converging lens, f is positive.  The image position, i, is positive when the image is on the opposite side of the lens (it is a real image) and negative when it is on the same side of the lens as the object (it is a virtual image).  The magnification is given by:

Magnification:

When 2 lenses form an optical system, the image formed by the first lens (whether virtual or real) becomes the object for the second lens.  The combined magnification of the final image for the optical system is the ratio of the final image height to the original object height:

Magnification (2 lens system):

In this experiment, you will investigate the images formed by lenses and combinations of lenses and determine the focal length of a converging lens.

Materials:

- optical bench

- lenses

- object box

- screen

Preliminary Questions:

- An object with a height of 2 cm is placed at a distance p=20 cm in front of a converging lens with a focal length for f=5 cm.

  - Trace the significant rays to obtain the image.

  - Describe the image ( real or virtual; greater or smaller than the object; upright or inversed)

  - Calculate the position and the dimension of the image.

- Sketch the significant rays to obtain the image produced by a system of 2 converging lenses with focal distances f1 and f2. Note: The image produced by the first lens represents the object for the second lens.

#### Procedure:

##### A) Focal Length of Converging (Positive) Lens

1. Set the object box near one end of the optical bench and the screen at the other end.

L1

Object

Screen

d

2. Locate a position of the lens that will produce a clear image on the screen (L1 in the drawing below).

3.  Measure the object distance and the image distance, then measure the height of the object and the height of the image (including algebraic sign).  Enter your measurements in the Table 1.

4. Using equation (1), determine the focal length of the lens and record it in table 1 below.

5. Leaving the screen and the object in place, move the lens between the object and the screen until you obtain a new image.

6. Measure the new object distance and the new image distance.  Calculate the focal distance again and record the value.

7. Measure a new distance between the object and the screen.  Repeat steps 3-6 two times using this new distance.  Record the data in table 1.

8.  Calculate the average f and the uncertainty in f (using either the standard deviation or the min-max method).  Record these values in Table 1.

| Table 1: Determination of focal length |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | d | p | i | ho | hi | f |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
|  |  |  |  | Average f: |  |  |
|  |  |  |  | Uncertainty f: |  |  |

9. Check your result by placing the object at a distance 2f from the lens. In this case, the image should be at an equal distance 2f. Place the screen at a distance 2f from the lens. If you see a clear image on the screen, your calculated f is correct.

Analysis Questions:

- What relationship do you observe between the image distances and the object distances measured in steps 3 and 7 above? Explain.

- Draw a ray diagram to scale to verify that if the object distance is 2f the image is equal to the object and formed at an equal distance 2f

- For the data above, verify the magnification equation by calculating hi/ho, -i/p and the % Error between them.

| ### Table 2: Magnification |  |  |  |
| --- | --- | --- | --- |
| ### Trial | ### hi/ho | ### - di/do | ### % Error |
| ### 1 |  |  |  |
| ### 2 |  |  |  |
| ### 3 |  |  |  |
| ### 4 |  |  |  |

### B. Combination of Lenses

1. Using 2 identical lenses, position them along the optical bench to obtain a focused the image of the object on the screen.  Note: placement of the object near but just beyond the focal point of the first lens will yield a magnified final image.

2. Measure the distance between the object and the first lens (p1), the distance between the two lenses (L), and the distance between the second lens and the screen (i2).  Record these measurements in Table 3.

| Table 3: 2-Lens System |  |  |
| --- | --- | --- |
| p1 | L | i2 |

3. Draw a ray diagram for the 2 lens arrangement in step 1.

4.  Calculate the final image position (relative to the second lens) using the value of “f” determined above in part A and record in table 4. Show your derivation.

| Table 4 |  |  |  |
| --- | --- | --- | --- |
| Lens 1 |  | Lens 2 |  |
| p1 |  | p2 |  |
| f1 |  | f2 |  |
| i1 |  | i2 |  |
|  |  | % Error |  |

5.  Calculate the % Error between the calculated and measured final image distance (i2).  Record this value in Table 4.

6.  Determine the magnification of the final image by taking the ratio of the final image height and the original object height.

7.  Derive an expression for the expected magnification of the final image for your lens system in terms of the final image position (i), the object position (p), and the focal length (f).

8.  Compare your answers in questions 6 and 7.  Calculate the % Error.

% Error = ____________