# Experiment: Diffraction & the Groove Spacing for CDs & DVDs

## Objectives:

- To observe the diffraction behavior of light

- To determine the spacing distance for a diffraction grating

- To determine and compare the groove spacing of a CD with that of a DVD

## Introduction:

The diffraction of classical waves refers to the phenomenon wherein the waves encounter an obstacle that fragments the wave into components that interfere with one another.  Interference simply means that the wave fronts add together to make a new wave which can be significantly different than the original wave. For example, a pair of sine waves having the same amplitude, but being 180o out of phase will sum to zero, since everywhere one is positive, the other is negative by an equal amount.

A diffraction grating is a transparent material into which a very large number of uniformly spaced wires have been embedded. One section of such a grating is shown in Figure 1. As light passes through the grating, the light waves that fall between the wires undergo diffraction propagate straight on through. The light that impinges on the wires, however, is absorbed or reflected backward. At certain points in the forward direction the light passing through the spaces (or slits) in between the wires will be in phase, and will constructively interfere. The condition for constructive interference can be understood by studying figure 1.  Whenever the difference in path length between the light passing through different slits is an integral number of wavelengths of the incident light, the light from each of these slits will be in phase, and will form an image at the specified location. Mathematically, the equation that describes angular position of diffraction maxima for a grating is simple and reminiscent of 2-slit interference:

d.sin  = m



d.sin 



d

Figure 1: The geometry of the diffraction grating

where d is the distance between adjacent slits (which is the same as the distance between adjacent wires),  is the angle the re-created image makes with the normal to the grating surface,  is the wavelength of the light, and m = 0, 1, 2, . . . is an integer.

Diffraction gratings can be used to split light into its constituent wavelengths (colors). In general, it gives better wavelength separation than does a prism, although the output light intensity is usually much smaller. By shining a light beam into a grating whose spacing, d, is known, and measuring the angle, , for the resulting diffraction pattern (maxima), the wavelength, , can be determined. This is the manner in which the atomic spectra of various elements were first measured. Alternatively, one can shine a light of known wavelength on a regular grid of slits, and measure their spacing. You can use this technique to measure the distance between grooves on a CD or the average spacing between the feathers on a bird’s wing.

Part 1:  Diffraction of laser light using a pin needle

- Place a piece of tape over the on/off button of a laser pointer then place it on its side on the table top.

- Aim the laser pointer toward a wall on the far side of the lab room.

- Observe the pattern of the beam on the wall.  Record your observations and sketch the beam pattern.

- Place a pin needle (vertical orientation) about 5 to 8 cm in front of the laser pointer, directly in the path of the light beam (see Figure 2A).

- Observe the pattern of the beam on the wall (make sure that the pin needle is directly in the light path).  Record our observations and sketch the beam pattern.

- Remove the pin needle and position it such that the head of the needle is directly in front of the beam path (see Figure 2B).

- Observe the pattern of the beam on the wall (make sure that the head of the pin needle is directly in the light path).  Record your observations and sketch the beam pattern.

Laser Pointer

Laser Pointer

Pin Needle

Pin Needle

Light beam

Light beam

Head

Light Pattern on the wall

Light Pattern on the wall

Figure 2A:

Figure 2B:

How do the patterns in steps 5 and 7 compare?

Part 2:  Diffraction of laser light through a pin hole

- Using a pin needle, carefully poke a small round hole in a piece of electrical tape.

- Place the piece of tape directly in front of the laser pointer’s light path such that the beam passes through the pin hole.

- Observe the beam pattern on the wall.  Record your observations and sketch the beam pattern.

## Part 3: The line spacing of a diffraction grating

Laser

grating

Figure 3:

1) Obtain a diffraction grating and set-up an experiment similar to the figure below.

2) Set-up the laser so that the diffracted beam shines on a lab wall (or suitable screen), then position the grating between the laser and the wall (see Figure 3).

3) Shine the laser through the grating and determine the distances from the entrance slit to the first and second order images.

4) Use your position values to determine the average wavelength of the laser beam and uncertainty associated with it.  The wavelength for the laser pointer is: laser = 645 nm (red) or laser = 532 nm (green).

| Data Table 1: Diffraction Grating Spacing |  |  |  | L = |  |
| --- | --- | --- | --- | --- | --- |
| m | xLeft | xRight | xAverage |  | d |
|  |  |  |  | dAvg = |  |
|  |  |  |  | d = |  |

## Part 4: The groove spacing of a CD

A CD is not a diffraction grating but it does diffract light when it is reflected off the surface, similar to the diffraction of transmitted light through a grating. This diffraction occurs because the grooves engraved on the CD surface are so closely spaced that they act like a diffraction grating as they reflect light.  The diffraction equation can be utilized to measure the separation distance, d, between the grooves.

Incident

Light

Screen





dsin

Figure 4:

1) Obtain a CD and position it roughly 20 to 30 cm in front of the laser pointer, see Figure 5.

1



CD

Figure 5:

laser

wall

(screen)

1

2

23

m =0

L

x

2) Secure the laser with a ring stand and aim the beam at the outer region of the CD, where the grooves are roughly parallel and vertical.

3)  Place a screen directly in front of the laser (there will need to be a whole in the screen for the beam to pass).  Alternatively, set up the CD and laser so that the reflected (diffracted) beams shine against a wall directly behind the laser.

4) Adjust the position of the CD (or laser if needed) until the central maximum image shines back on the original light source and the higher order maximum are aligned horizontally.

5) Measure the distance, L, between the screen and the CD.  Record in Table 2.

6) Measure the distances (from the center of the central maxima) of the m=1, 2, etc. maxima. Record the measurements in Table 2.

7) Determine the angle of diffraction for each maxima and record in Table 2.

8) Calculate the groove spacing for each m, along with the average value and uncertainty.

| Data Table 2: Diffraction & CD Groove Spacing |  |  |  | L = |  |
| --- | --- | --- | --- | --- | --- |
| m | xLeft | xRight | xAverage |  | d |
|  |  |  |  | dAvg = |  |
|  |  |  |  | d = |  |

## Part 5: The groove spacing of a DVD

It is commonly known that a DVD holds more information than a CD.  One reason for this is that the groove spacing on the surface of a DVD is more closely packed than a CD.  In this section, you will use diffraction to measure the groove spacing for a DVD and compare it to that of a CD.

1) Obtain a DVD.

2) Repeat the procedure above in Part 4 for the DVD.  Record your data in Data Table 3.

| Data Table 2: Diffraction & CD Groove Spacing |  |  |  | L = |  |
| --- | --- | --- | --- | --- | --- |
| m | xLeft | xRight | xAverage |  | d |
|  |  |  |  | dAvg = |  |
|  |  |  |  | d = |  |

3) Determine the angle of diffraction for each m value then calculate the groove spacing, d, for each m value.

4) Calculate the average groove separation and its uncertainty.  Record values in Table 3.

Final Questions:

1) What condition must be met for constructive interference to occur and produce diffraction pattern when light is transmitted through a diffraction grating?

2) How does the groove spacing of a CD compare to that of a DVD?

3) Estimate how much more data one can fit on a DVD compared to a CD.  Assume that the light source for a DVD player is the same as a CD and that data is equally spaced along the grooves.

4)  A CD can hold approximately 700 MB of data whereas a DVD can hold 4.7 GB. Does the relative storage capacity of these discs agree with your answer in (3)?  Explain why they might be different.